## Compliance obligations
Act | Rules | Regulation | Court ruling | Corporate requirement | Interested party request agreed | Voluntary commitment
| Compliance Obligations | [8 empty] | Document Number
Sl. No. | Which obligations apply | Reference clause/ Sub-clause no. | Why the obligation | Requirements of the obligations | Department responsible for identifying & complying | Location where applicable | Person responsible for checking | Date of checking | Status of compliance | Comments, if any | Due date for next checking
1 | Factories Act, 1948
| Certification by engineer Stability of the Building | Clause 6. | Legal | No manufacturing process carried on with the aid of power shall be begun or carried on with the aid of power in any building or part of a building until a certificate is signed by the Engineer
| Approval, Licensing and registration of factory | Clause 6. | Legal | (a) Requiring the previous permission in writing of the State Government or The Chief Inspector to be obtained for the site on which factory is to be situated and for the construction or extension of any factory or class or description of factories Requiring for the purpose of considering applications for such permission the submission of plans and specifications: Prescribing the nature of such plans and specifications and by whom they shall be certified.
| Health and Safety Provision | Clause 41 C | Legal | Employer to provide facilities like first-aid, medical and, drinking water
| Notice of certain accidents | Sec. 88 | Legal | If any accident occurs causing death or any bodily injury due to which the injured person is prevented from work for a period of forty-eight hours or more immediately following the accident; the manager of factory shall send notice to authorities within such time as prescribed.
| Notice of certain certain dangerous occurrences | Sec. 88A | Legal | In case of any dangerous occurrence (as prescribed) whether causing any bodily injury or disability or not; the manager of factory shall send notice to authorities within such time as prescribed.
| Notice of certain diseases | Sec 89 | Legal | When any worker in a factory contracts any disease as per the third schedule, manager of factory shall send notice to authorities within such time as prescribed.
| Dust and Fumes | Clause 13. | Legal | In every factory in which, by reason of the manufacturing process carried on, there is given off any dust or fume or other impurity of such a nature and to such an extent as is likely to be injurious or offensive to the workers employed therein, or any dust in substantial quantities, effective measures shall be take to prevent its inhalation and accumulation in any workroom.
| Workers Participation in safety management | Sec.41G | Legal | In every factory carrying out a hazardous process, workers' participation in safety management will be ensured be setting up a Safety Committee consisting of equal number of workers and management, which will be required to promote co-operation between workers and management for maintaining proper safety and health conditions at work and also to review periodically the measures taken.
| Safety Policy | Clause 40 B | Legal | Factory shall have Health & Safety Policy
| Fencing of Machinery | Sec.21 | Legal | This makes it obligatory to provide fencing to all moving and dangerous parts. These fencing shall be provided and kept in position.
| Hoists and lifts | Sec.28 | Legal | It should have safe construction, safely maintained and examined by a competent person at-least once in every six months. Safe working load (SWL) shall be marked and over-loading not allowed. Hoist or lift used for carrying persons shall be fitted with a gate for access, which should not open except at the designed platforms.
| Lifting Machines, Chains, ropes and lifting tackles | Sec.29 | Legal | These shall be of good construction etc to ensure they are free from defects and are safe, should be properly maintained and examined by competent person once in 12 months, safe working load to be marked and not to be over-loaded. Safe passage should be provided for employees to work on or near the wheel tracks.
| Precautions against dangerous fumes, gases, etc. | Sec.36 | Legal | No person should be allowed to work or enter in confined space (having manhole of adequate size) till the dangerous vapour/gas/dust has been removed within permissible limit and tested & certified fit for entry by a competent person. Proper protective equipments should be provided for the employees going inside such space. The entrant should enter with suitable breathing apparatus and a belt securely attached to a rope, the free end of which is held by a person outside the confined space
| Precautions regarding the use of portable electric light | Sec.36A | Legal | The light/electrical appliance beyond 24 volts should not be used in confined space unless adequate safety provisions are provided. In case of likely presence of inflammable gases in the confined space, only flameproof equipment should be used.
| Explosive or inflammable dust, gas, etc. | Sec.37 | Legal | Explosive or inflammable dust or gas should be effectively enclosed and all necessary measures must be taken to prevent ignition.
| Compulsory disclosure of Information by the occupier | Sec.41B | Legal | A factory carrying on a hazardous process will have to disclose information on health hazards, and measures to overcome such hazards arising out of harmful exposure in the operations. Not only the workers employed in the factory are required to be informed, but also the local authority within whose jurisdiction the factory is situated, the general public in the vicinity of the factory and the Chief Inspector of Factories are also required to be informed of the hazards.
| Permissible Limits of Exposure of Chemical and Toxic Substances | Sec.41F | Legal | The maximum permissible times hold limits of exposure of Chemical and Toxic substances in manufacturing process (whether hazardous or otherwise) in any factory shall be of the value as indicated in the second schedule.
| Specific responsibility of the occupier in relation to hazardous processes | 41C | Legal | Every occupier of a factory involving any hazardous process shall – (a) maintain accurate and up-to-date health records of the workers in the factory who are exposed to any chemical, toxic or any other harmful substances which are manufactured, stored, handled or transported (b) provide for medical examination of every worker – at intervals not exceeding twelve months, in such manner as may be prescribed.
2 | Factory Rules 1950
| Occupational Health Centre |  | Legal | Fully equiped occupational health centre having full time Medical Officer and one Nurse, one Dresser-cum-Compounder and one Sweeper-cum-wardboy throughout the working period.
| Notice of Fatal Accident or Serious bodily injuries |  | Legal | Employer to send notice of fatal accidents and serious bodily injuries to the Commissioner giving circumstances attending death or serious bodily injury.
3 | Environment Protection Act, 1986 & Rules, 1986
| Comply with directions issued (Haryana) | Chapter III – Obligations | Legal | Comply with directions issued by SPCB.
| Environment Statement | Rule 14 | Legal | Applicable to Industry Carrying Industry, Operation or Process. Requiring Consent Under Water, Air Acts or Authorization under HW(M&H) Rules issued under EPA. Shall Submit an Environment Statement for each Financial Year ending 31st March. Prescribed Form V to concerned SPCB. Before 30th September Every Year.
| Maintenance of ambient air quality standards | NAAQS issued in 2009 | Legal | The ambient air quality standards in respect of different parameters shall be maintained within permissible limits.
4 | Plastic Wastes Management Rules 2016
| Plastic Wastes Management Rules 2016 | Clause 4 (g) | Legal | Recycling of plastic waste shall conform to the indian standard IS 14534:1998 titled as Recycling of Plastics.
| Plastic Wastes Management Rules 2016 | Clause 8 | Legal | Take steps to minimise plastic waste and segregate at source in accordance with Solid Waste Management Rules 2000.
5 | Water (Prevention & Control of Pollution) Cess Act, 1977 and Rules, 1978
| Cess Payment | Section 3 | Legal | Pay Water cess, as prescribed within the specified time as indicated in the assessment order
| Measurement of water | Section 4, Rule 3 | Legal | Shall arrange for the measuring of water being consumed for industrial purposes as given in Schedule I and II of the Rules.
| Reporting on cess | Section 5, Rule 4(1) | Legal | To furnish on or before 5th. of every month to the UKPCB Water Return in FORM 1.
6 | Water (Prevention and Control of Pollution) Act, 1974 and Rules, 1975
| Discharge of environmental pollutant | Section 24 | Legal | No person carrying on industry, operation or process shall discharge or emit or permit to be discharged or emitted any environmental pollutant in excess of such standards as may be prescribed. Furnishing, of information to State Board and other agencies in case of excess emissions or accidental release.
| Water Consent | Section 25 | Legal | Valid water consent to be obtained from SPCB at any time
| ETP Report | Section 20 | Legal | Submit Eflluent details report as asked.
| Comply with directions issued | Section 33 A | Legal | Comply with directions issued by SPCB.
| Consent Conditions | Section 25 | Legal | Comply with the conditions as prescribed in the “Consent to Operate” for discharge of effluents into a stream or sewer or on land.
|  |  | Legal | Obtain “Consent to Establish” prior to taking any steps to establish new operation or process or any treatment and disposal system or an extension or addition there to , which is likely to discharge sewage or trade effluent into stream or well or sewer or on land .
|  |  | Legal | Obtain “Consent to Operate” prior to commencing operation of any industry, or any treatment and disposal system, which is likely to discharge effluents.
|  |  | Legal | Apply for renewal of the “Consent to Operate” annually before the expiry of validity period, as specified in the consent granted earlier, in the prescribed format along with prescribed fees.
7 | Air (Prevention & Control of Pollution) Act, 1981 & Rules, 1982
| Application for Consent - Air Pollution | Section 21 | Legal | An application for consent to operate (for existing ) or consent to establish (for new s or any expansion, in future) from the State Pollution Control Board (SPCB). Apply for renewal of Consent to operate.
| Consent to Operate - Air Pollution | Section 21 | Legal | Valid consent to operate (for existing establishments ) or consent to establish (for new establishment or any expansion, in future) to be had from the State Pollution Control Board (SPCB).
| Complying Conditions | Section 22 | Legal | To comply with the conditions of the consent given by the State Pollution control board.
| Comply with directions | Section 31A | Legal | Comply with the directions, issued in writing by the UKPCB, within the specified time as indicated in the order.
8 | Hazardous and Other Wastes (Management and Transboundary Movement) Rules, 2016
| Occupiers responsibility | Rule 4 | Legal | Provide persons working no-site information, training and equipment necessary for their safety
| Occupiers responsibility | Rule 4 | Legal | Ensure proper handling of hazardous wastes. Contain contaminants and prevent accidents and limit their consequences on human and environment
| Authorisation - Hazardous Wastes | Rule 6 | Legal | Obtain authorization from State Pollution Control Board before starting handling of Hazardous Wastes.
| Storage of Hazardous Wastes | Rule 8 | Legal | Hazardous waste should be stored for a period not exceeding 90 days. This waste should be stored in the premises in a secured way till its disposal. Sale of hazardous waste in Schedule IV only to a registered recycler
| Movement Documents | Rule 19 | Legal | Movement Document of hazardous waste in Form 13 (White) signed by the transporter, should be submitted to State Pollution Control Board. In case hazardous waste is likely to be transported through any transit State, an additional copy of Form 13(White) should be sent to State Pollution Board of that State.
| Transportation of Hazardous Waste | Rule 18 | Legal | Occupier while handing over hazardous waste to the transporter shall provide him with Transport Emergency(TREM) card having information regarding hazardous nature of the wastes and measures to be taken in case of an emergency should be given Hazardous waste container should be marked as per Form 8. Background colour of lab I fluorescent yellow should be used - The words 'HAZARDOUS WASTES' & 'HANDLE WITH CARE' should be prominent and written in red in Hindi, English and in Vernacular Language - Label should be of non-washable material.
| Record of Hazardous Wastes | Rule 20 | Legal | Records related to hazardous wastes handled (i.e. generated, stored and disposed) should be maintained and updated
Solid Waste Management Rules, 2016.
| Duties of waste generators | Rule 4 | Self | Every waste generator shall segregate and store the waste generated by them in three separate streams namely bio-degradable, non biodegradable and domestic hazardous wastes in suitable bins and handover segregated wastes to authorised waste pickers or waste collectors as per the direction or notification by the local authorities from time to time.
|  | Rule 4 | Self | Store horticulture waste and garden waste generated from his premises separately in his own premises and dispose of as per the directions of the local body from time to time
|  | Rule 4 | Self | No waste generator shall throw, burn or burry the solid waste generated by him, on streets, open public spaces outside his premises or in the drain or water bodies.
9 | Manufacture, Storage & Import of Hazardous Chemical Rules, 1989 as amended upto 2000;
| Occupier's responsibility |  | Legal | Occupier to identify major accident hazards and take adequate steps for prevention and control and provide to the persons working on the site information, training, equipment including antidotes.
| Labelling of Hazardous Chemicals Containers |  | Legal | Ensure that all container of hazardous chemical is clearly labelled or marked to identify - a) contents of the container; b) name and address of the manufacturer or importer of the hazardous chemical; c) physical, chemical and toxicological data as per criteria given at Part 1 of Schedule 1
| MSDS for Hazardous Substances and labelling of containers |  | Legal | I. Obtain or develop information in form of MSDS in respect of every Hazardous Substance or material handled in manufacturing, transportation and storage. II. Mark or Label container of every hazardous substance to identify the following. 1. Contents of the Container 2. Name and address of the manufacturer or importer 3. Physical and Health hazards Recommended personal protective equipment 4. the recommended personal protective equipment needed to work safely with the hazardous substance
| Occupier's responsibility |  | Legal | Occupier to follow specified procedure for import of hazardous chemicals, in case involved in the import
| Occupier's responsibility |  | Legal | Notify major accident within 48 hours to the concerned authority (Schedule 5) in the prescribed form (Schedule 6)
| Occupier's responsibility |  | Legal | Submit notification of site to the concerned authority (Schedule 5) and obtain the approval at least three months before commencing that activity
| Occupier's responsibility |  | Legal | Occupier to prepare and keep up-to-date on-site emergency plan (Form 11). (Concerned authority to prepare and keep up-to-date an adequate on-site emergency plan. Occupier to provide the information for this purpose.)
| Occupier's responsibility |  | Legal | Occupier to conduct mock drill of the on-site emergency plan every six months and submit the report to the concerned authority
| Yearly Safety Audit Report |  | Legal | 1) Conduct an independent Initial Safety Audit of respective industrial activities with the help of an expert and forward a copy of the auditor's report along with his comments, to the concerned authority within 30 days after the completion of such Audit and 2) Ensure to update the safety audit report every year by conducting a fresh safety audit and forward a copy of it with his comments thereon within 30 days to the concerned authority
10 | Uttrakhand (Control of Industrial Major Accident Hazards) Rules, 1991
| Requirements |  | Legal | All requirements are same as in MSIHC Rules 1989
11 | Bio Medical Wastes Rules, 2016
| Bio Medical Waste | Rule 4 | Legal | To take all steps to ensure that bio-medical waste is handled without any adverse effect to human health and the environment.
| Treatment and Disposal | Rule 7 | Legal | Bio-medical waste shall be treated and disposed of in accordance with Schedule I, and in compliance with the standards prescribed in Schedule II.
| Segregation, Packaging Transportation and Storage | Rule 8 | Legal | (1) Bio-medical waste shall not be mixed with other wastes. (2) Bio-medical waste shall be segregated into containers/bags at the point of generation in accordance with Schedule II prior to its storage, transportation, treatment and disposal. The containers shall be labelled according to Schedule III. (3) If a container is transported from the premises where bio-medical waste is generated to any waste treatment facility outside the premises, the container shall, apart from the label prescribed in Schedule III, also carry information prescribed in Schedule IV. (4) No untreated bio-medical waste shall be kept stored beyond a period of 48 hours
| Maintaining Records | Rule 14 | Legal | Company shall maintain records related to generation, collection, reception, storage, transportation, treatment, disposal and/ or any form of handling of bio-medical waste in accordance with these rules / guidelines.
| Authorization for handling biomedical wastes | Rule 10 | Legal | Every occupier handling biomedical waste, irrespective of the quantity shall apply to SPCB for grant of authorization for handling biomedical wastes.
12 | Noise Pollution (Regulation and Control) Rules, 2000
| Standards for Noise | Schedule III Ambient Air Quality Standards in respect Of Noise | Legal | Maintain following noise levels- Industrial area : 75 dB(A) Leq in day time and 70 Leq dB(A) at night Commercial area : 65 dB(A) Leq in day time and 55 dB(A) Leq at night Residential area : 55 dB(A) Leq in day time and 45 dB(A) Leq at night Silence Zone : 30 dB(A) Leq in day time and 40 dB(A) Leq at night
13 | Ozone Depleting Substances (Regulation and Control) Rules, 2000
| Control of ODS | Rule 14 (2) | Legal | If the company stocks or purchases any ODS for use in activities specified in Column 2 of Schedule IV, then Records shall be maintained and Reports shall be filed in the manner prescribed in Part II of Schedule X.
|  | Note | Legal | Company to phase out the use of ODS as follows: - CFC’s (like R11, R12 etc.) by January 01, 2020 - All Halons by January 01, 2020
14 | The Batteries (Management and Handling) Rules, 2001
| Deposit Used Lead Acid Batteries | Rule 7 (iii) | Legal | Deposit the used lead acid batteries to the Dealer, Manufacturer, Importer, Assembler, Registered Recycler, Reconditioned or at the designated collection centers
| Disposal of batteries | Rule 10 (i) | Legal | To ensure that used batteries are not disposed off in any manner other than depositing with the dealer, manufacturer, importer, assembler, registered recycler, reconditioner or at the designated collection centres
15 | Supreme Court Notification on Hazardous Substances Management
| Supreme Court Order dated 14.10.2003 in case of Writ Petition No. 657 of 1995. |  | Legal | The Honourable Supreme Court of India has desired that On Line Data be displayed in front of the Factory Gate (6 feet by 4 feet size with white background and black letters) relevant information for Hazardous Wastes and Chemicals used in the Factory.
16 | Petroleum Act, 1934 and Rules, 2002
| License for storage | Sections 7, 8 and 9 | Legal | Save as provided in Sections 7, 8 and 9 of the Act no person shall store petroleum except under and in accordance with a license granted under these rules
| Precautions against fire |  | Legal | No person shall smoke in any installation, storage shed
|  |  | Legal | No person shall carry matches, fuses or other appliances capable of producing ignition or explosion in any installation or storage shed, which is used for the storage of petroleum.
|  |  | Legal | No fire, furnace or other source of heat or light capable of igniting inflammable vapour shall be allowed in any installation, storage shed or service station save in places specially authorized by the licensing authority for the purpose.
|  |  | Legal | An adequate number of portable fire-extinguishers capable of extinguishing oil tires shall always be kept in every installation, storage shed and service station at strategic point and all persons employed in such installation, storage shed or service station shall be conversant with the use of such fire extinguishers.
| Supervision of operations within an installation, service station or storage shed |  | Legal | All operations within an installation, service station or storage shed shall be conducted under the supervision of an experienced responsible agent or supervisor who is conversant with the terms and conditions of the license held for the installation, service station or storage shed, as the case may be.
| Cleanliness of installation, service station or storage shed |  | Legal | The ground in the interior of an installation or service station and the protected area surrounding any installation, service station or storage shed shall be kept clean and free from all vegetation, waste material and rubbish.
| Drainage |  | Legal | All enclosures surrounding above ground tanks is in an installation shall be provided with proper drainage facilities in such way that no water is allowed to accumulate in the enclosure. No part of the enclosure referred to in sub-rule shall be below the level of the surrounding ground within the protected area.
|  |  | Legal | Where drainage is effected by means of a pipe the pipe shall be fitted with a valve which is capable or being operated from the outside of the enclosure or with any other arrangement approved in writing by the Chief Controller
|  |  | Legal | All valves and other openings for draining off water shall be kept closed except when water is being drained off.
|  |  | Legal | The nature of the drainage arrangement and the position of all openings and valves therein shall be shown in the plan submitted with the application for a license.
| Exclusion of unauthorised persons |  | Legal | The protected area surrounding every installation and storage shed shall be surrounded by a wall or fence of at least 1.8 meters in height.
|  |  | Legal | Precautions shall be taken to prevent unauthorized persons from having access to any storage shed or installation.
| Petroleum only to be stored |  | Legal | No installation, service station or storage shed shall, without permission in writing from the Chief Controller, be used for any purpose other than the storage and distribution of petroleum and for purposes directly connected therewith
| Marking of capacity of tanks |  | Legal | The capacity in litres of every above ground tank in an installation shall be conspicuously marked on the tank.
| Construction of tanks |  | Legal | Every tank or receptacle for the storage of petroleum in bulk other than a well-head tank shall be constructed of iron or steel in accordance with the codes or specifications approved by the Indian Standards institution or any other code or specifications approved in writing by the Chief Controller.
|  |  | Legal | The height of a storage tank shall not exceed one and a half times its diameter or twenty meters, whichever is less.
| Protection against corrosion |  | Legal | All tanks on other receptacles for the storage of petroleum in bulk, other than well-head tanks installed on the ground or below the ground, shall be protected against corrosion by the use of protective coating or catholic protection or by any other means approved by the licensing-authority.
| Testing of tanks |  | Legal | Storage tanks or other receptacles for storage of petroleum in bulk, other than well-head tanks, after being installed and secured in the final position or after undergoing re-installation or any major repair shall, before being put into use, be tested by water pressure by a competent person.
| Earthing of tanks |  | Legal | Ever tank or other receptacle for the storage of petroleum in bulk, other than a well head tank or tanks of less than 50,000 litres capacity containing petroleum Class-C shall be electrically connected with the earth in an efficient manner by not less than two separate and distinct connections placed at the opposite extremities of such tank or receptacle. The roof and all metal connections of such tank or receptacle shall be in efficient electrical contact with the body of such tank or receptacle.
|  |  | Legal | The resistance to earth shall not exceed 7 ohms and the resistance to any part of the fitting to the earth plate or to any other part of fitting shall not exceed 2 ohms.
| Testing of earth connections |  | Legal | The connections and contacts of the tank or receptacle required under rule 127 shall be inspected and tested by a competent person at least once in every twelve months by means of a direct reading instrument, such as merger.
| Night working |  | Legal | No installation storage shed shall be opened and no work in any installation or storage shed shall be permitted between sunset and sunrise except where approved electric lights conforming to the provisions of Chapter-IV are exclusively used.
| Pumping |  | Legal | No integral combustion engine or electric motor in an installation shall be used for driving pumps for pumping petroleum save in a pump house or pumping area specially constructed for the purpose and approved by the Chief Controller.
| Identification mark on licensed premises |  | Legal | Every installation, storage shed or service station under these rules shall have prominently marked thereon the number of the license held for it.
| Posting up of rules and conditions |  | Legal | An extract of rules 3 to 12, 102 to 115, 116 to 134 and rules 147 to 149 and 152 to 160 and the conditions of the license shall be exhibited in a conspicuous place in every licensed installation, service station or storage shed.
17 | Gas Cylinder Rules, 2016 (framed under the Explosives Act, 1884)
| Obtain License or Store Gas Cylinders |  | Legal | Obtain license in Form E, F or G fill or store the gas cylinders
| Prohibition of Smoking, Fire lights and dangerous substances |  | Legal | No person shall smoke and no fires, or substances of flammable nature or liable to spontaneous ignition shall be - allowed at any time in proximity to a place where any cylinder gases is being filled, stored or handled
| General Precautions |  | Legal | No oil or similar lubricant shall be used on any valves or other fittings of any cylinder
|  |  | Legal | No cylinder shall be subjected to any heat treatment or exposed to high temperature or to the sun or stored with any other flammable or explosive material.
|  |  | Legal | If a leak in the valve cannot be rectified by tightening the gland nut or the spindle, the cylinder shall be removed to an open space where it is least dangerous to life and property and the filler shall be informed.
| Competent Person to be in Charge of Operation, Handling & Use |  | Legal | Cylinders shall be adequately supported during handling. Trolleys and cradles of adequate strength shall, as far as possible, be used when moving the cylinders.The Cylinders shall be handled carefully and not allowed to fall upon one another or otherwise subjected to any undue shock. Sliding, dropping or playing with cylinders is prohibited. LPG cylinders shall always be kept in upright position and shall be so placed that they can not be knocked over. Cylinders used in horizontal position shall be so secured that they cannot roll.
| Storage of Cylinders |  | Legal | Cylinders shall be stored in cool, dry, well ventilated place under cover, away from boilers, open flames, steam pipes or any potential sources of heat and such place of storage shall be easily accessible
|  |  | Legal | Cylinders containing flammable gases and toxic gases shall be kept separated from each other and from cylinders containing other types of gases by an adequate distance or by suitable partition wall.
|  |  | Legal | Cylinders shall not be stored under conditions, which will cause them to corrode
|  |  | Legal | Cylinders shall not be stored along with any combustible material.
|  |  | Legal | Empty cylinders shall be segregated from the filled ones and care shall be taken that all the valves are tightly shut.
| Electrical Installations |  | Legal | In premises for filling and storing flammable gases in cylinders, all electric meters, distribution boards, supplies, fuses, plugs and sockets etc shall be of flame proof construction conforming to Indian Standard Specifications or such other specifications.
| Loading & Unloading for Transport |  | Legal | When any such operation is carried on by means of a crane or a forklift truck, a proper cradle with chains or wire rope strings shall be used.
18 | Indian Electricity Act 2003 & Rules 2005 (amended 2016)
| Obligation | Rule 3 | Legal | In every registered factory where more than 250 KW of electrical load is connected, there shall be a person authorized by the management of the factory for ensuring the observance of the safety provisions laid down under the Act and the rules made there under, who shall periodically inspect such installation get them tested and keep the record thereof
| Identification of Earthed and Earthed Neutral Conductors and position of switches and cut outs therein : | Rule 32: | Legal | Where the conductors include an earthed conductor of a two wire system or an earthed neutral conductor of a multi wire system or a conductor which is to be connected thereto, an indication of a permanent nature shall be provided by the owner of the earthed or earthed neutral conductor, or the conductor which is to be connected thereto, to enable such conductor to be distinguished from any live conductor.
| Danger Notices : | Rule 35: | Legal | The owner of every medium, high and extra high voltage installation shall affix permanently in a conspicuous position a (Danger) notice in Hindi or English and the local language of the district, with sign of skull and bones.
| Handling of Electric supply lines and apparatus : | Rule 36 | Legal | Before any conductor or apparatus is handled adequate precautions shall be taken by earthing or other suitable means to discharge electrically such conductor or apparatus and any adjacent conductor or apparatus if there is danger there from, and to prevent any conductor or apparatus from being accidentally or inadvertently electrically charged when person are working thereon.
| Handling of Electric supply lines and apparatus : | Rule 36 | Legal | No person shall work on any live electric supply line or apparatus and no person shall assist such person or such work, unless he is authorized in that behalf, and take the safety measures approved by the Inspector.
| Handling of Electric supply lines and apparatus : | Rule 36 | Legal | Every telecommunication line on supports carrying a high or extra high voltage line shall, for the purpose of working thereon, be deemed to be high voltage line.
| Cables for portable or transportable apparatus : | Rule 38 | Legal | Flexible cables shall not be used for portable or transportable motors, generators, transformer rectifiers, electric drills, electrical sprayers, welding sets or any other portable or transportable apparatus unless they are heavily insulated and adequately protected from mechanical injury.
| Distinction of Different Circuits : | Rule 41 | Legal | The owner of every generating station, sub station, junction box or pillar in which there are any circuits or apparatus, shall ensure by means of indication of a permanent nature that the respective circuits are readily distinguishable from one another.
| Provisions applicable to protective equipment | Rule 43: | Legal | Fire buckets filled with clean dry sand and ready for immediate use for extinguishing fires, in addition to fire extinguishers suitable for dealing with electrical fires, shall be conspicuously marked and kept in all generating stations. First Aid boxes or cupboards, conspicuously marked and equipped with such contents as the State Government may specify, shall be provided and maintained in every generating station, enclosed sub station and enclosed switch station so as to readily accessible during working hours. All such boxes and cupboards shall, except in the case of unattended sub stations be kept in charge of responsible persons who are trained in first aid treatment and one of such persons shall be available during working hours.
| Restoration of persons suffering from electric shock | Rule 44 | Legal | Instructions for the restoration of persons suffering from electric shock, shall be affixed by the owner in a conspicuous place in every generating station, enclosed switch station and in every factory as defined in every factory, as defined in clause (m) of section 2 of the Factory Act 1948, in which electricity is used.
| Intimation of accident : | Rule 44A | Legal | If any accident occurs in connection with the generation, transmission, supply or use of energy in or in connection with any part of electric supply lines or other works of any person and the accident results in or is likely to have resulted in loss of human or animal life or in any injury to a human being or an animal, such person or any authorized person shall send to the inspector a telegraphic report within 24 hours of the knowledge of the occurrence of the fatal accident and a written report in the prescribed format, within 48 hours of the knowledge of the occurrence of fatal and all other accidents.
| Precautions to be adopted by consumers, owners and electrical workmen : | Rule 45: | Legal | No electrical installation work, including additions, alterations, repairs and adjustments of existing installations, except such replacement of lamps, fans, fuses, switches, low voltage domestic appliances and fittings as in no way alter its capacity or character, shall be carried out up on the premises of or on behalf of any consumer, owner or occupier, for the purpose of supply to such consumer, owner or occupier except by an electrical contractor licensed in this behalf by the state government and under the direct supervision of a person holding a certificate of competency issued or recognized by the State Government
| Connection with Earth : | Rule 67 | Legal | Every earthing systems belonging to either the supplier or the consumer shall be tested for its resistance to earth on a dry day during dry season not less than once in a year. Records of such tests shall be maintained
| General conditions as to transformation and control of energy : | Rule 68 | Legal | The out door sub station shall be sufficiently protected by fencing not less than 1.8 meters in height or other means so as to prevent access to the electric supply lines and apparatus therein by un-authorized person.
| Handling of electric supply lines and apparatus | Rule 68 | Legal | Before any conductor or apparatus is handled adequate precautions shall be taken, by earthing or other suitable means, to discharge electrically such conductor or apparatus, and any adjacent conductor or apparatus if there is danger there from, and to prevent any conductor or apparatus from being accidentally or inadvertently electrically charged when persons are working thereon. It shall be the responsibility of the owner of all HV and EHV installations to maintain and operate the installations in a condition free from danger and as recommended by the manufacturer and / or by the relevant codes of practice of the 2[Bureau of Indian Standards] and / or by the Inspector.]
19 | Central Motor Vehicles Act, 1988 and Rules, 1989 (amended 2017)
| Pollution Under Control validity | PUC | Legal | For all vehicles owned, contracted, or entering into premises of company.
| CMVR 1989 | Rule 129 | Legal | If hazardous material enroute belongs to company then it applicable - Transportation of goods of dangerous or hazardous nature to human life - details of rule to see in law.
| Spark Arrestor: | 129A | Legal | Every goods carriage carrying goods of dangerous or hazardous nature to human life shall be fitted with a spark arrestor.
| Responsibility of the consignor | Rule 131 | Legal | Responsibility of the consignor for safe transport of dangerous or hazardous goods - details of rule to see in law.
20 | Workmen’s Compensation Act, 1923
| Payment of compensation to workmen under The Employeeâ€™s Compensation Act, 1923 |  | Legal | Employer shall be liable to pay compensation to a workman suffering from personal injury, caused by an accident and for disease arising out of and in the course of his employment. For details refer the law and consult HR.
21 | Indian Boiler Act, 1923 and Regulations, 1950
| Registration | Section7(1) (5) | Legal | No owner of a boiler shall use the boiler or permit it to be used 1) unless it has been registered in accordance of provisions of this Act. 2) At a pressure higher than the maximum pressure recorded in such certificate
| Renewal of Certificate | Section 8(1) | Legal | A certificate authorizing the use of boiler is required to be renewed in specific conditions
| Alteration and renewals to boilers: | Section 12 | Legal | No structured alteration, addition or renewal shall be made in or to any boiler registered under this Act, unless such alteration, addition or renewal has been sanctioned in writing by the Chief Inspector
| Report of Accident: | Section 18 | Legal | Any accident to a Boiler or boiler component is to be reported to the inspector with 24 hrs in writing giving nature of the accident and of the injury, if any, caused thereby to the boiler or to the boiler component or to any person.
22 | Condition Noise Pollution DG
| Emission norms for DG Sets upto 1000 KVA and 800 KW |  | Legal | Ensure DG Sets of rating upto 1000 KVA and 800 KW are used as per below specifications - i) Noise limit is 75 dB(A) at 1 metre from enclosure surface ii) Installed with acoustic enclosure and valid Type Approval and Conformity of Production (COP) certificate and conformance labelling of noise and emission limit iii) Stack height (in metres), for genset is governed as per Central Pollution Control Board guidelines
| Emission standards for DG engines rating more than 1000 KV and 800 KW |  | Legal | Ensure DG Sets of rating above 1000 KVA and 800 KW are used as per below specifications - i) Installed in standard acoustic enclosure of 25 dB(A) insertion loss and exhaust muffler with 25 dB(A) insertion loss ii) Make efforts to bring down noise levels upto ambient noise requirements iii) Routine maintenance procedure in consultation with manufacturer iv) Stack height of minimum 30 m
23 | E-Waste (Management) Rules, 2016
| Responsibilities of consumer | Rule 9 | Legal | Consumers or Bulk consumers of electrical and electronic equipment listed in Schedule I shall ensure the e-waste generated by them is channelised to authorized collection centre(s) or registered dismantler(s) or recyclers(s) or is returned to pick-up or take back services provided by the producers;
| Authorization for handling e-wastes | Rule 13 | Legal | Every generator of electronic waste shall make an application to SPCB and obtain authorization for generation, handling and disposal of e-wastes.
| Procedure for storage of e-waste | Rule 15 | Legal | Every producer, collection centre, dismantler or recyclers may store the e-waste for a period not exceeding one hundred and eighty days and shall maintain a record of collection, sale, transfer, storage and segregation of wastes and make these records available for inspection
| Miscellaneous | Rule 23 | Legal | The Collection, storage, transportation, segregation, refurbishment, dismantling, recycling and disposal of e-waste shall be in accordance with the procedures prescribed in the guidelines published by the Central Pollution Control Boards from time to time
24 | Atomic Energy(Radiation Protection) Rules 2004
| Responsibilities of the employer for compliance to Rules | Clause 20.0 | Legal | Atomic Energy (Radiation Protection) Rules 2004 rules shall apply to practices adopted and interventions applied with respect to radiation sources
25 | The Static & Mobile Pressure Vessels (Unfired) Rules 2016
| Design and installation of pressure vessels | Clause 10 | Legal | As per rules given in the statute.
| Periodic testing of pressure vessels in service | Clause 17 | Legal | All vessels shall be hydraulically tested by a competent person at a pressure marked on the vessel at intervals of not more than five years after the date of first test, provided that in the case of vessels, containing corrosive or toxic gases, the periodic test shall be done at an interval of two years.
| Earthing | Clause 23 | Legal | All vessels used for storage of flammable liquefiable gases shall be electrically connected with the earth in an efficient manner. And pipelines conveying flammable liquids shall be adequately prepared for electrical
| Fire Protection | Clause 25 | Legal | All vessels used for the storage of flammable compressed gases shall be protected against fire hazards as under: provision shall be made for an adequate supply of water and fire protection in the storage area in accordance with the provision of the rules and the regulation applicable in that area.
| For keeping attention during operations | Clause 27(5) | Legal | a competent person shall remain in attendance during all the operations connected with the transfer and ensure that all the requirements of these rules are complied with
26 | Haryana Shops and Establishment Act and Rules 1958
| Submission of Annual Lift maintenance contractor |  | Legal | Submit every year a copy of annual lift or escalator maintenance contract or any other arrangement made for maintenance of the Lifts, to the inspector of Lifts
| Furnishing safety Certificate |  | Legal | Furnish an annual safety certificate to the inspector of Lifts
| Safety Arrangement |  | Legal | Make arrangement : a) to provide for an automatic rescue device to rescue the travelling passengers trapped in the lift in the event of breakdown of power supply by bringing and stopping the lift at the nearest landing floor and keeping the landing and lift cage doors open. b) to provide for alternative automatic power supply system to ensure the functioning of the lift in the event of breakdown of power supply within a period of 10 seconds
| Fire protection arrangement as per Haryana Building Code 2016 |  | Legal | Fire protection measures provided in part IV of National Building Code of India dealing with fire protection shall be followed.
| Type of extinguisher Haryana |  | Legal | Maintain and keep in the premises each type of fire extinguisher with respect to each class of fire .
27 | ISPM
| Ensure that every wooden container should meet the ISPM standards. |  | Legal | As prescribed in the Standard and as breach of contract terms with client
28 | Metrology Act 2009
| Verification and Display Legal Metrology Act 2009 | Clause 10 | Contractual | Every person having any weight or measure in his possession, custody or control in circumstances indicating that such weight or measure is being, or is intended or is likely to be, used by him in any transaction, dealing or contract in respect of any goods, class of goods or undertaking or for protection shall ensure that such weight or measure is verified before using it.
GTPL Contractual Conditions